## Thermic fluid Heating and ho...
start | end | today | Welcome to the Heating System & Fuel-Switching Survey for printing, laminating, packaging and coating industries in Nepal. Your responses are completely confidential and will be used only for this study, commissioned by the Alternative Energy Promotion Centre (AEPC). Participating can help you in your fuel-switching journey and in accessing available subsidies or grants for cleaner process-heating technology. Thank you for your time and cooperation. | I hereby provide consent for collecting these data | Industry name | Address / location | GPS location | _GPS location_latitude | _GPS location_longitude | _GPS location_altitude | _GPS location_precision | Contact person | Designation | Contact number | Email adress | Daily production? | Daily operating hours? | Annual operating days | Let's start with the printing side of your operation. | Number of printing units | You have now completed data collection for the printing unit(s). Let's continue with laminating. | Number of laminating units | Existing transformer capacity | Maximum demand for the last year | Is spare electrical capacity available? | Grid supply reliability | Is sufficient space available for an alternative heating system? | If space is limited, what is the main constraint? | If space is limited, what is the main constraint?/Heater installation area | If space is limited, what is the main constraint?/Fuel storage | If space is limited, what is the main constraint?/Pellet storage | If space is limited, what is the main constraint?/Electrical equipment | If space is limited, what is the main constraint?/Chimney/exhaust | If space is limited, what is the main constraint?/Process-floor space | If space is limited, what is the main constraint?/Other | Have you previously considered or attempted fuel switching for printing/laminating heating? | Rating of technical suitability | Rating of financial viability | Rating of operational convenience | Are you willing to switch the existing fuel/heating system? | Main reasons for considering fuel switching | Main reasons for considering fuel switching/Reduce energy cost | Main reasons for considering fuel switching/Reduce fuel price volatility | Main reasons for considering fuel switching/Reduce emissions | Main reasons for considering fuel switching/Reduce maintenance | Main reasons for considering fuel switching/Improve process control | Main reasons for considering fuel switching/Reduce dependency on diesel | Main reasons for considering fuel switching/Other | What are the main barriers to fuel switching? | What are the main barriers to fuel switching?/High initial investment | What are the main barriers to fuel switching?/Space constraint | What are the main barriers to fuel switching?/Grid capacity limitation | What are the main barriers to fuel switching?/Grid reliability | What are the main barriers to fuel switching?/Lack of technical knowledge | What are the main barriers to fuel switching?/Lack of reliable equipment supplier | What are the main barriers to fuel switching?/Pellet availability | What would encourage you to switch? | What would encourage you to switch?/Investment/financing support | What would encourage you to switch?/Reliable equipment supplier | What would encourage you to switch?/Grid capacity upgrade | What would encourage you to switch?/Reliable pellet/fuel supply | What would encourage you to switch?/Demonstration of technology | What would encourage you to switch?/other | 🎉 Thank you! You have completed the survey. | ✅ Section D complete – Electrical Infrastructure. ➡️ Next: Fuel-Switching Experience and Intention. | Other barrier / explanation | ✅ Section E complete.➡️ Next: Barriers to Fuel Switching | _id | _uuid | _submission_time | _validation_status | _notes | _status | _submitted_by | __version__ | _tags | meta/rootUuid | _index
2026-08-26 14:47 | 2026-08-26 15:19 | 2026-08-26 |  | Yes | Chandika Print Pack | Shreekhandapur, Dhulikhel | 27.616222 85.529083 0 0 | 27.6162 | 85.5291 | 0 | 0 | Suden Shrestha | Owner | 9851064606 | sudensoni3211@gmail.com | 1600 | 10 | 300 |  | 2 |  | 1 | 350 | 300 | Yes | Reliable | Yes | [8 empty] | Yes – successfully switched | 4 | 5 | 5 | Yes | Reduce energy cost | 1 | 0 | 0 | 0 | 0 | 0 | 0 | High initial investment Grid capacity limitation Lack of reliable equipment supplier | 1 | 0 | 1 | 0 | 0 | 1 | 0 | Grid capacity upgrade Reliable pellet/fuel supply | 0 | 0 | 1 | 1 | 0 | 0 |  |  |  |  | 850210461 | 53e5acaf-5a39-4115-9775-f56f09558caa | 2026-08-26 09:34 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:53e5acaf-5a39-4115-9775-f56f09558caa | 1
2026-08-26 15:23 | 2026-08-26 15:43 | 2026-08-26 |  | Yes | Shree Polythene and Plastic udhyog | Balaju Industrial State, kathmandu | 27.738866 85.333261 0 110 | 27.7389 | 85.3333 | 0 | 110 | Umanga Ghimire | Owner | 9818025314 |  | 1500 | 10 | 290 |  | 2 |  | 1 | 500 | 400 | Yes | Reliable | Yes | [8 empty] | Yes – successfully switched | 4 | 5 | 5 | Yes | Reduce energy cost | 1 | 0 | 0 | 0 | 0 | 0 | 0 | High initial investment Grid reliability Lack of technical knowledge | 1 | 0 | 0 | 1 | 1 | 0 | 0 | Reliable equipment supplier Grid capacity upgrade | 0 | 1 | 1 | 0 | 0 | 0 |  |  |  |  | 850238074 | f9f26a97-eb61-4e68-a04e-5d373e591abf | 2026-08-26 09:58 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:f9f26a97-eb61-4e68-a04e-5d373e591abf | 2
2026-08-26 15:53 | 2026-08-26 16:00 | 2026-08-26 |  | Yes | National Plastic Industry | Balaju Industrial State | [5 empty] | Suvanga Ghimire | Owner | 9813209537 | suvangaghimire.npi@gmail.com | 1000 | 8 | 300 |  | 1 |  | 1 | 500 | 250 | Yes | Reliable | Yes | [8 empty] | No |  |  |  | Yes | Reduce energy cost Reduce fuel price volatility | 1 | 1 | 0 | 0 | 0 | 0 | 0 | High initial investment Grid capacity limitation | 1 | 0 | 1 | 0 | 0 | 0 | 0 | Investment/financing support Reliable pellet/fuel supply | 1 | 0 | 0 | 1 | 0 | 0 |  |  |  |  | 850257306 | b518b131-602f-4cfb-8c37-f62e164dccd7 | 2026-08-26 10:15 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:b518b131-602f-4cfb-8c37-f62e164dccd7 | 3
2026-08-26 16:02 | 2026-08-26 16:07 | 2026-08-26 |  | Yes | Godawari Printng | Balaju Industrial state | [5 empty] | Suman Shrestha | Owner | 9851196863 |  | 800 | 10 | 285 |  | 1 |  | 1 | 200 | 180 | No | Reliable | Yes | [8 empty] | Yes – successfully switched | 5 | 5 | 3 | Yes | Reduce energy cost Reduce emissions Reduce dependency on diesel | 1 | 0 | 1 | 0 | 0 | 1 | 0 | High initial investment Grid reliability | 1 | 0 | 0 | 1 | 0 | 0 | 0 | Investment/financing support Grid capacity upgrade | 1 | 0 | 1 | 0 | 0 | 0 |  |  |  |  | 850264496 | 1ddd87f9-d32d-48d7-bd4f-2cc65269b1c1 | 2026-08-26 10:22 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:1ddd87f9-d32d-48d7-bd4f-2cc65269b1c1 | 4
2026-09-10 16:07 | 2026-09-10 16:16 | 2026-09-10 |  | Yes | Sona Packaging | Padsari, Lumbini | [5 empty] | Jagdip | General Manager | 9857023564 |  | 15000 | 24 | 300 |  | 1 |  | 1 |  |  | No | Moderate | No | Fuel storage Chimney/exhaust Process-floor space | 0 | 1 | 0 | 0 | 1 | 1 | 0 | Yes – successfully switched | 4 | 5 | 1 | No | [8 empty] | High initial investment Grid capacity limitation Grid reliability | 1 | 0 | 1 | 1 | 0 | 0 | 0 | Investment/financing support Reliable pellet/fuel supply | 1 | 0 | 0 | 1 | 0 | 0 |  |  |  |  | 863762618 | bdad36d5-9fa3-45b2-8183-c2a1a618d3b9 | 2026-09-10 10:31 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:bdad36d5-9fa3-45b2-8183-c2a1a618d3b9 | 5
2026-09-11 16:18 | 2026-09-11 18:03 | 2026-09-11 |  | Yes | Uday Shree Print Pack Pvt Ltd | Hatkhola | [5 empty] | Raghav Rathi | Executive Director | 9812373616 | udayshreebrt@gmail.com |  |  |  |  | 1 |  | 1 | 250 | 200 | Yes | Moderate | No | Other | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Yes – successfully switched | 3 | 2 | 4 | No | [8 empty] | High initial investment Grid reliability | 1 | 0 | 0 | 1 | 0 | 0 | 0 | Investment/financing support Grid capacity upgrade | 1 | 0 | 1 | 0 | 0 | 0 |  |  |  |  | 865109275 | 1606f61d-ade8-4752-a855-cc25d23517d2 | 2026-09-11 10:47 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:9285f938-9043-47ca-8dfd-9be966e53b85 | 6
2026-09-13 13:43 | 2026-09-13 13:56 | 2026-09-13 |  | Yes | Galaxy Packaging | Bara | 27.049188 84.910995 90.05042603835898 22.175966043729318 | 27.0492 | 84.911 | 90.0504 | 22.176 | Manish Agrawal | Director | 9855023050 |  | 15000 | 18 | 300 |  | 3 |  | 1 | 1000 | 860 | Yes | Moderate | Yes | [8 empty] | Yes – successfully switched | 4 | 5 | 2 | Yes | Reduce emissions | 0 | 0 | 1 | 0 | 0 | 0 | 0 | High initial investment Grid reliability | 1 | 0 | 0 | 1 | 0 | 0 | 0 | Investment/financing support Reliable equipment supplier Reliable pellet/fuel supply | 1 | 1 | 0 | 1 | 0 | 0 |  |  |  |  | 866599821 | 71d7377b-5625-42b2-be1b-a9a608bbd81b | 2026-09-13 08:11 |  |  | submitted_via_web |  | vmeM59qRuMPVSKCd79MNEy |  | uuid:71d7377b-5625-42b2-be1b-a9a608bbd81b | 7

## printing_units
p_unit_index | ## 🔥 Printing Unit ${p_unit_index} | Heating arrangement used for printing unit ${p_unit_index} | Fuel / energy source used for this heating arrangement | Heater / boiler capacity (kcal/hr) | Heater capacity (kW) | p_heater_capacity | Typical operating load | Running hours | Daily fuel consumption (litres/day) | Daily fuel consumption (kg/day) | Daily electricity consumption (kWh/day) | Daily consumption | p_fuel_consumption_day | Fuel price (NPR per litre) | Fuel price (NPR per kg) | per unit cost (NPR per kWh) | Price | p_fuel_price | Required temperature for ink drying | How is ash/residue managed? | Dedicated transformer for this unit? | Transformer capacity | p_annual_fuel_quantity | p_annual_fuel_cost | Remarks | _index | _parent_table_name | _parent_index | _submission__id | _submission__uuid | _submission__submission_time | _submission__validation_status | _submission__notes | _submission__status | _submission__submitted_by | _submission___version__ | _submission__tags | _submission_meta/rootUuid
1 |  | Hot air generator | Pellet | 50000 |  | 50000 | 50–75% | 10 |  | 60 |  |  | 60 |  | 35 |  |  | 35 | 55 | Disposed easily |  |  | 18000 | 630000 |  | 1 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 1 | 850210461 | 53e5acaf-5a39-4115-9775-f56f09558caa | 2026-08-26 09:34 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:53e5acaf-5a39-4115-9775-f56f09558caa
2 |  | Hot air generator | Electric |  | 85 | 85 | 50–75% | 10 |  |  | 25 |  | 25 |  |  | 10 |  | 10 | 55 |  | No |  | 7500 | 75000 |  | 2 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 1 | 850210461 | 53e5acaf-5a39-4115-9775-f56f09558caa | 2026-08-26 09:34 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:53e5acaf-5a39-4115-9775-f56f09558caa
1 |  | Hot air generator | Electric |  | 90 | 90 | 50–75% | 10 |  |  | 30 |  | 30 |  |  | 10 |  | 10 | 60 |  | No |  | 8700 | 87000 |  | 3 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 2 | 850238074 | f9f26a97-eb61-4e68-a04e-5d373e591abf | 2026-08-26 09:58 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:f9f26a97-eb61-4e68-a04e-5d373e591abf
2 |  | Hot air generator | Diesel | 50000 |  | 50000 | 50–75% | 10 | 10 |  |  |  | 10 | 200 |  |  |  | 200 | 50 |  |  |  | 2900 | 580000 |  | 4 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 2 | 850238074 | f9f26a97-eb61-4e68-a04e-5d373e591abf | 2026-08-26 09:58 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:f9f26a97-eb61-4e68-a04e-5d373e591abf
1 |  | Hot air generator | Electric |  | 80 | 80 | 75–100% | 10 |  |  | 28 |  | 28 |  |  | 9.6 |  | 9.6 | 55 |  | No |  | 8400 | 80640 |  | 5 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 3 | 850257306 | b518b131-602f-4cfb-8c37-f62e164dccd7 | 2026-08-26 10:15 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:b518b131-602f-4cfb-8c37-f62e164dccd7
1 |  | Hot air generator | Electric |  | 90 | 90 | 50–75% | 10 |  |  | 38 |  | 38 |  |  | 9.6 |  | 9.6 | 50 |  | No |  | 10830 | 103968 |  | 6 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 4 | 850264496 | 1ddd87f9-d32d-48d7-bd4f-2cc65269b1c1 | 2026-08-26 10:22 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:1ddd87f9-d32d-48d7-bd4f-2cc65269b1c1
1 |  | Thermic oil | Rice Husk | 1000000 |  | 1000000 | 50–75% | 24 |  | 3000 |  |  | 3000 |  | 12 |  |  | 12 |  | Disposed easily |  |  | 900000 | 10800000 |  | 7 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 5 | 863762618 | bdad36d5-9fa3-45b2-8183-c2a1a618d3b9 | 2026-09-10 10:31 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:bdad36d5-9fa3-45b2-8183-c2a1a618d3b9
1 |  | Hot air generator | Electric |  | 144 | 144 | Variable / Don't know | 20 | [12 empty] | No |  | NaN | NaN |  | 8 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 6 | 865109275 | 1606f61d-ade8-4752-a855-cc25d23517d2 | 2026-09-11 10:47 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:9285f938-9043-47ca-8dfd-9be966e53b85
1 |  | Hot air generator | Pellet | 600000 |  | 600000 | 50–75% | 24 |  | 1200 |  |  | 1200 |  | 25 |  |  | 25 | 55 | Disposed easily |  |  | 360000 | 9000000 |  | 9 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 7 | 866599821 | 71d7377b-5625-42b2-be1b-a9a608bbd81b | 2026-09-13 08:11 |  |  | submitted_via_web |  | vmeM59qRuMPVSKCd79MNEy |  | uuid:71d7377b-5625-42b2-be1b-a9a608bbd81b
2 |  | Hot air generator | Pellet | 300000 |  | 300000 | 50–75% | 24 |  | 400 |  |  | 400 |  | 25 |  |  | 25 |  | Disposed easily |  |  | 120000 | 3000000 |  | 10 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 7 | 866599821 | 71d7377b-5625-42b2-be1b-a9a608bbd81b | 2026-09-13 08:11 |  |  | submitted_via_web |  | vmeM59qRuMPVSKCd79MNEy |  | uuid:71d7377b-5625-42b2-be1b-a9a608bbd81b
3 |  | Hot air generator | Electric |  | 150 | 150 | Variable / Don't know | 12 | [12 empty] | No |  | NaN | NaN |  | 11 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 7 | 866599821 | 71d7377b-5625-42b2-be1b-a9a608bbd81b | 2026-09-13 08:11 |  |  | submitted_via_web |  | vmeM59qRuMPVSKCd79MNEy |  | uuid:71d7377b-5625-42b2-be1b-a9a608bbd81b

## laminating_units
l_unit_index | ## 🔥 Laminating Unit ${l_unit_index} | Heating arrangement used for laminating unit ${l_unit_index} | Fuel / energy source used for this heating arrangement | Heater / boiler capacity (kcal/hr) | Heater capacity (kW) | l_heater_capacity | Typical operating load | Running hours | Daily fuel consumption (litres/day) | Daily fuel consumption (kg/day) | Daily electricity consumption (kWh/day) | Daily consumption | l_fuel_consumption_day | Fuel price (NPR per litre) | Fuel price (NPR per kg) | Electricity tariff (NPR per kWh) | Price | l_fuel_price | Required process temperature | How is ash residue managed? | Dedicated transformer for this unit? | Transformer capacity | l_annual_fuel_quantity | l_annual_fuel_cost | Remarks | _index | _parent_table_name | _parent_index | _submission__id | _submission__uuid | _submission__submission_time | _submission__validation_status | _submission__notes | _submission__status | _submission__submitted_by | _submission___version__ | _submission__tags | _submission_meta/rootUuid
1 |  | Hot air generator | Electric |  | 30 | 30 | 50–75% | 10 |  |  | 15 |  | 15 |  |  | 10 |  | 10 | 55 |  | No |  | 4500 | 45000 |  | 1 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 1 | 850210461 | 53e5acaf-5a39-4115-9775-f56f09558caa | 2026-08-26 09:34 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:53e5acaf-5a39-4115-9775-f56f09558caa
1 |  | Thermic oil | Electric |  | 20 | 20 | 50–75% | 8 |  |  | 15 |  | 15 |  |  | 10 |  | 10 | 50 |  | No |  | 4350 | 43500 |  | 2 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 2 | 850238074 | f9f26a97-eb61-4e68-a04e-5d373e591abf | 2026-08-26 09:58 |  |  | submitted_via_web |  | vmpAyRqy9aNVE8mrueQZ4x |  | uuid:f9f26a97-eb61-4e68-a04e-5d373e591abf
1 |  | Thermic oil | Electric |  | 25 | 25 | 50–75% | 8 |  |  | 12 |  | 12 |  |  | 9.6 |  | 9.6 | 45 |  | No |  | 3600 | 34560 |  | 3 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 3 | 850257306 | b518b131-602f-4cfb-8c37-f62e164dccd7 | 2026-08-26 10:15 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:b518b131-602f-4cfb-8c37-f62e164dccd7
1 |  | Thermic oil | Electric |  | 28 | 28 | 50–75% | 10 |  |  | 1096 |  | 1096 |  |  | 9.6 |  | 9.6 | 48 |  | No |  | 312360 | 2998656 |  | 4 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 4 | 850264496 | 1ddd87f9-d32d-48d7-bd4f-2cc65269b1c1 | 2026-08-26 10:22 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:1ddd87f9-d32d-48d7-bd4f-2cc65269b1c1
1 |  | Thermic oil | Rice Husk | 1000000 |  | 1000000 | 50–75% | 24 |  | 3000 |  |  | 3000 |  | 12 |  |  | 12 |  | Disposed easily |  |  | 900000 | 10800000 |  | 5 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 5 | 863762618 | bdad36d5-9fa3-45b2-8183-c2a1a618d3b9 | 2026-09-10 10:31 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:bdad36d5-9fa3-45b2-8183-c2a1a618d3b9
1 |  | Thermic oil | Electric |  |  |  | Variable / Don't know | 12 |  |  | 1200 |  | 1200 |  |  | 10 |  | 10 |  |  | No |  | NaN | NaN |  | 6 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 6 | 865109275 | 1606f61d-ade8-4752-a855-cc25d23517d2 | 2026-09-11 10:47 |  |  | submitted_via_web |  | vRhQ7wZAtc7CNbgTgMrwuL |  | uuid:9285f938-9043-47ca-8dfd-9be966e53b85
1 |  | Hot air generator | Pellet | 100000 |  | 100000 |  | 12 |  | 150 |  |  | 150 |  | 25 |  |  | 25 | 55 | Disposed easily |  |  | 45000 | 1125000 |  | 7 | Thermic fluid Heating and hot air generator Survey of Printing and Packaging Industry for Fuel Switching | 7 | 866599821 | 71d7377b-5625-42b2-be1b-a9a608bbd81b | 2026-09-13 08:11 |  |  | submitted_via_web |  | vmeM59qRuMPVSKCd79MNEy |  | uuid:71d7377b-5625-42b2-be1b-a9a608bbd81b